# NON-PLUMBING SANITATION AGREEMENT

Property Owners(s):

Mailing Address:

Location: ¼, ¼, S ,T N, R W

Township of :

Parcel Tax Number:

Agreement Date:

TYPE OF NON-PLUMBING DEVICE/ SYSTEM/TOILET: Privy - Pit Toilet Composting Toilet System Privy - Vault Toilet Incinerating Toilet Device Other: ____________________________________________________

Legal Description:

Personal information you provide may be used for secondary purposes.[Privacy Law, s. 15.04 (l)(m)]

- No plumbing will be installed in the structure.

- No plumbing will be installed in the premises served by the non-plumbing sanitation device/system/toilet unless a code compliant soil absorption system or holding tank exists, or a valid sanitary permit to install such a system has been issued.

- A privy vault/pit shall maintain minimum setbacks as specified in Table 1.

| Table 1 | Well | Dwelling | Lake/Stream | Additional County Setbacks |
| --- | --- | --- | --- | --- |
| Open Pit | 50 ft | 25 ft | Min. 75 ft | 25 ft from lot line |
| Sealed Vault | 50 ft | 25 ft | Min 75 ft | 25 ft from edge of 20% slope |

- Privies for public buildings shall comply with Comm 52.63, Wis. Adm. Code.

- Storage and treatment chambers of privies and composting toilets shall be vented and the vents constructed in accordance with Comm 82.31 Wis. Admin. Code.  The vent shall be: at least 3 inches in diameter, terminate at least 8 inches above the roof, and be screened to exclude insects.

- The non-plumbing sanitation device/system/toilet shall be kept clean and sanitary.  All construction shall be done in a manner to exclude flies, rats, and other vermin.  If applicable, non-plumbing sanitation device/system/toilet shall be installed in accordance with manufacturer’s printed instructions and adhere to any other existing regulations

- Composting and incinerating toilets shall to conform to NSF Standard 41 and ANSI Z21.61, respectively.  Composting and incinerating toilets shall be listed by testing agencies acceptable to the Wis. Dept. of Commerce.  Acceptable testing agencies are: American Gas Association, Canadian Standards Association, NSF International, Underwriter’s Laboratories, and Warnock Hersey.

- The contents of a pit or vault privy shall be disposed of in accordance with NR 113, Wis. Admin. Code.  The solid end products of an incinerating toilet shall be disposed of in accordance with 40 CFR part 503, Standards for the Use or Disposal of Sewage Sludge.  The compost resulting from a composting toilet shall be disposed of in accordance with EPA part 503.

- Any liquid wastes from an incinerating or composting toilet shall be disposed of in a public sanitary sewer system or a POWTS conforming to Comm 83, Wis. Admin. Code.

- This agreement shall be binding on the owner, their heirs and assignees.  This documentation shall be recorded by the register of deeds in a manner, which allows its existence to be determined by reference to the property where the non-plumbing device/system/toilet is installed.

| Printed Owner(s) Name(s): | Subscribed and sworn to before me on this date: Notary Public My commission Expires on: |
| --- | --- |
| Owner(s) Signautre(s): |  |
| Drafted By: |  |