# Lack of snow cover may cause septic systems to freeze

Across most of Wisconsin we are seeing a decided lack of snow cover.  Rural residents may recall the wide spread septic system problems during the winter of 2002, when the frost depths exceeded 5 feet at the Spooner Research station. Area excavators reported up to 8 feet of frost below some compacted roadways that winter. Early prevention is far better than dealing with the pain and expense of a frozen system. "There are some things you can do to prevent freezing and definitely a few things you should not do once systems freeze" according to Kevin Krause, President of the North West District County Code Administrators Association." The following suggestions (reprinted with the permission of the University of Minnesota) provides a nice summary," says Krause.

The most common reason why septic systems freeze is lack of snow cover and cold temperatures combined with a construction or "use" issue.  Unfortunately, the sparse snowfall in Wisconsin so far this year has the potential to cause problems, says Krause "If your septic system is frozen, your first step is to call an onsite professional," says Sara Christopherson, an engineer with the U of M Extension Service Onsite Sewage Treatment Program. If you have a pump and hear water constantly running in a pump tank (a possible indication of a frozen system), disconnect your pump and call an onsite professional.

This will likely be a septic system pumper or an installer who can help determine the cause of the problem and offer solutions. Your county zoning office is one place to go to locate a professional. Many pumpers and installers have devices called steamers and high-pressure jetters to try to unfreeze system piping. Unless the cause of freezing is corrected, the piping will refreeze.

Other methods used to help fix a freezing problem include adding heat tape and tank heaters. Cameras can be sent down the pipes to determine where the freezing is occurring and if repairs are needed. If the treatment area is full of ice, or there is evidence of leaking, there is no need to thaw the lines leading to the treatment area, since it can't accept liquid until the area thaws in spring.

If it is not feasible to correct the problem or equipment is not available in your area, the only other option is to use the septic tank(s) in the system as a holding tank until the system thaws naturally. You will need to contact a pumper who, on a regular basis, will empty the tanks when they are full. This can be very costly, especially with normal volumes of water use (50 to 75 gallons per person per day).

Reduce water use by limiting the number of toilet flushes, taking short showers, using the dishwasher at full capacity, limiting running water to get hot or cold and doing laundry at a Laundromat. It is smart to find the cause of the freezing problem so that it can be addressed in the spring, preventing future freeze-ups. Again, more information on proper use of septic systems is available from your County Zoning Departments, University of Wisconsin Extension, and the University of Minnesota Extension Web Site indicated at the end of this article

<http://septic.coafes.umn.edu/Homeowner/index.html>.

The most common reasons an onsite system freezes are a waterlogged system, cold air entering the system, lack of snow cover, compacted soil or lack of plant cover. Others include irregular use of the system, leaking plumbing fixtures or a pipe that's not installed with the proper change of elevation.

Preventing your septic system from freezing. There are many things you can do to prevent your system from freezing in the future. Depending on your system, location, and water use, you may never have a freezing problem. Here are some precautions if you have had a past problem or are concerned about having a future problem. It is not necessary to do all of these, but pick  and choose based on your situation.

1. Place a layer of mulch (8-12 inches) over the pipes, tank and soil treatment system to provide extra insulation. This is particularly important if you have had a new system installed late in the year and no vegetative cover has been established. If your system is currently frozen, ignore this

step, as it will delay thawing come spring.

2. Let the grass in your lawn get a little longer over the tank and soil absorption cell area in the late summer/fall. This will provide extra insulation and help hold any snow that may fall.

3. Use water; the warmer the better! The Onsite Sewage Treatment Program is usually an advocate of water conservation, but if freezing is a concern, increasing low use to normal water use can help the system. This includes spreading out your laundry schedule to possibly one warm/hot load per day, using your dishwasher and maybe even taking a hot bath. DO NOT leave water running all the time, as this will hydraulically overload the system.

4. If you know you are going to be gone for an extended period, plan accordingly. This could include having someone use sufficient quantities of water in the home regularly, or pumping out your tank before leaving.

5. Fix any leaky plumbing fixtures or appliances in your home. This will help prevent freezing problems and help your system work better year-round.

6. Keep all types of vehicles and high-traffic people activities off of the system. This is a good rule to follow year-round.

7. Make sure all risers, inspection pipes and manholes have covers on them. Sealing them and adding insulation is a good idea.

8. Keep an eye on your system. If any seeping or ponding occurs, contact an onsite professional to help determine the cause and remedy. For more information, check the website.

If you're interested in learning more go to the University of MN web site at http://septic.coafes.umn.edu/Homeowner/index.html and look for the fact sheet "Freezing Problems with Onsite Sewage Treatment Systems".

INFORMATION ON WEB SITE:

According to many onsite professionals, a winter of cold temperatures and little snow cover can cause freezing of onsite systems.  Even in a normal Minnesota winter, freezing can occasionally be a problem.  Identifying and correcting a potential freezing problem is far easier than dealing with a frozen system.  Here are a few common causes of onsite system freeze-ups.

Lack of Snow Cover:  Snow serves as an insulating blanket over the septic tank(s) and soil treatment area (trenches, drainfield or mound).  Snow helps keep the heat of the sewage and the geothermal heat from deep soil layers. Lack of snow allows frost to go deeper into the ground, potentially freezing the system.

Compacted Snow:  Compacted snow will not insulate as well as uncompacted snow. Driving any type of equipment over the system compacts snow and sends the frost down deeper.  Automobiles, snowmobiles, ATV's, foot-traffic, and livestock should stay off the system all year long but especially in the winter.  Anytime traffic over a sewer pipe, septic tank, or soil treatment

area is anticipated, insulated pipe should be used.

Compacted Soils:  Areas that have compacted soils, such as driveways, paths or livestock enclosures, tend to freeze deeper, affecting septic system components that may be in the area.

Lack of Plant Cover:  This often occurs in new systems installed late in the fall where a vegetative cover could not be established before winter.  The vegetative cover insulates the system and helps hold snow.

Irregular Use of System:  When homes or cabins are unoccupied for long weekends or extended periods of time, no sewage is entering the system to maintain sufficient temperatures to avoid freezing.  This can also occur when very low volumes of sewage are being generated.  In cases when only one or two people are living in a home, they may use only a small percentage of the designed flow for the system.  This low usage may not be sufficient to keep the system from freezing.  Frequent use, warmer water temperatures and greater water use are all important in cold temperature stress situations.

Leaking Plumbing Fixtures:  When a fixture such as a toilet or showerhead leaks, it sends a small trickle of sewage to the system.  The slow moving and thin film of water form caused by trickle flow can freeze within the pipe and eventually cause the pipe to freeze solid.  Appliances such as high efficiency furnaces and humidifiers can also cause water to freeze in the pipes due to the small amount they discharge.

Pipes Not Draining Properly:  A common cause of freeze-ups are sewer pipes and pump lines that are not installed with proper fall (change of elevation) or pipes that settle or sag after installation.  Anytime a dip or low spot occurs in a pipe, sewage can collect and freeze.  Pump lines can develop a dip right next to or above the septic tank as a result of backfilled soil settling from the excavation during the tank installation.  It is important that all sewage drains out of the pipe from a pump line.

Cold Air Entering the System:  Open and uncapped riser or inspection pipes and manhole covers allow cold air into the system and can cause the system to freeze.

Water Logged System:  If a system was hydraulically failing (e.g. water coming to surface or seeping out the side of a mound) it is a prime candidate to freeze.  This effluent will freeze and prevent further effluent from entering the soil.

What Should You Do If Your Onsite System Freezes?

If your septic system is frozen, your first step is to call an onsite professional.  If you have a pump and hear water constantly running in a pump tank (a possible indication of a frozen system) shut off your pump and call an onsite professional.  This will likely be a pumper or an installer who can help determine the cause of the problem and offer solutions.  The U of M Onsite Program web site is one place to go to locate a professional -<http://septic.coafes.umn.edu/homeowner/index.html>

http://septic.coafes.umn.edu/homeowner/index.html.

Many pumpers and installers have devices called steamers and high-pressure jetters to try to unfreeze system piping.  Unless the cause of freezing is corrected the piping will refreeze.  Other methods used to help fix a freezing problem include adding heat tape and tank heaters.  Cameras can be sent down the pipes to determine where the freezing is occurring and if repairs are needed.  If the soil treatment system is full of ice, or there is evidence of leaking, there is no need to thaw the lines leading to the treatment area, as it cannot accept liquid until the area is thawed in spring.

If it is not feasible to correct the problem or equipment is not available in your area, the only other option is to use the septic tank(s) in the system as a holding tank until the system thaws naturally. You will need to contact a pumper who will empty out the tanks when they are full on a regular basis. This can be very costly, especially with normal volumes of water use (50 to 75 gallons per person per day).  Reduce water use by limiting the number of toilet flushes, taking short showers, using the dishwasher at full capacity, limiting running water to get hot or cold and doing laundry at a laundromat. It is smart to find the cause of the freezing problem so that it can be addressed in the spring, preventing future freeze-ups.  In the spring, preventative measures can be added to the system such as adding insulation around the tank and pipes or adding additional cover.

There are many misconceptions about how to deal with a frozen onsite system.

*	Do NOT add antifreeze, salt or a septic system additive into the system.

*	Do NOT pump sewage onto the ground surface.

*	Do NOT start a fire over the system to attempt to thaw it out.

*	Do NOT run water continually to try to unfreeze system.

What Can You Do to Prevent Your Onsite System From Freezing in the Future?

Depending on your system, location, and water use, you may never have a freezing problem.   However, there are several steps that you can take if you are concerned about your onsite system freezing.  Here are some precautions if you have had a past problem or are concerned about having a future problem.  It is not necessary to do all of these, but you may pick and choose based on your situation:

1.	Place a layer of mulch (8-12 inches) over the pipes, tank and soil treatment system to provide extra insulation.  This mulch could be straw, leaves, hay or any other loose material that will not compact and stay in place.  This is particularly important if you have had a new system installed late in the year and no vegetative cover has been established.  If your system is currently frozen ignore this step, as it will delay thawing come spring.

2.	Let the grass in your lawn get a little longer in the late summer/fall over the tank and soil treatment area.  This will provide extra insulation and help hold any snow that may fall.

3.	Use water; the warmer the better!  The Onsite Sewage Treatment Program is usually an advocate of water conservation, but if freezing is a concern, increasing low use to a normal water use can help the system.  This includes spreading out your laundry schedule to possibly doing one warm/hot load per day, using your dishwasher and maybe even taking a hot bath.  DO NOT leave water running all the time, as this will hydraulically overload the system.

4.	If you know you are going to be gone for an extended period, plan accordingly.  This could include having someone use sufficient quantities of water in the home regularly or pumping out your tank before leaving. If you live in an area with a high water table, you should only pump out the tank if the tank was designed for high water table conditions.   If a tank is left full for several winter months, the sewage will get very cold in shallow tanks and can even freeze.  If you then return home before temperatures start to rise, the effluent leaving the tank will be cold.  By starting with an empty tank, you can then start fresh with warm effluent. If you use a cabin on a limited basis during the winter months, this may be a good idea as well.

5.	Fix any leaky plumbing fixtures or appliances in your home. This will help prevent freezing problems and help your system work better year round.  If you have appliances that generate very low flows such as high efficiency furnaces, you can put a heat tape in the pipe, and while on vacation have someone come by and run warm water for a while.  Alternately, you could install a small condensate pump that holds and discharges 2 gallons per cycle.

6.	Keep all types of vehicles and high traffic people activities off of the system.  This is a good rule to follow year round.

7.	Make sure all risers; inspections pipes and manholes have covers on them.   Sealing them and adding insulation is a good idea.  Insulation may be added during construction particularly if the top of the septic tank is within 2 feet or the surface.

8.	Keep an eye on your system.  If any seeping or ponding occurs contact an onsite professional to help determine the cause and remedy.

9.	Add more insulation to your system.  This could include replacing pipe with insulated pipe, adding styrofoam over septic tanks or adding more soil cover.

For More Information Please see our web site at:

<http://septic.coafes.umn.edu/homeowner/index.html>

http://septic.umn.edu/homeowner/index.html for more information about proper operation of septic systems. Otherwise give us a call at (800) 322-8642.  6/24/03